## Slide 1: Image guided proton radiography for lung cancer radiotherapy
Treatment
Imaging
Beam monitor
Mirror
Liquid scintillator
CCD Camera

## Slide 2: Early results
Methods | Low Dose | Real-Time | In-situ Feedback | Accurate
Image-guided pRad |  |  |  | 
4D CT |  |  |  | 
Breath hold/Gating |  |  |  | 
In room CBCT |  |  |  | 
The alternatives
Experimental Setup
Established collaboration
Image guided proton radiography for lung proton radiotherapy
Notes: This research is the first step into what could be a new way of treating patient that have lung cancer, a way that enables a step change in curative rate. This is a high reward project, and

## Slide 3
Image guided proton radiography for NSCLC proton radiotherapy
 | Cyclotron (ProBeam) | Cyclotron (PSI Gantry 3) | Synchrotron MDA
Energy Layer switching | <1s | 200 ms | 2.1 s
Spot switching time | 200 us | Continuous | 3 ms
Minimal spot time | 3ms | Continuous | 4ms
Time for 100 (10cm2) spots | 320 ms | 125 ms | 700 ms
Time for energy switch | ~1.6 s | 400 ms | 4.2 s
Total time for radiography | 1.92 s | 0.525s | 4.9s
Accelerators
Cameras
 | Zyla 5.5 CMOS cameras | Andor CCD Luca DL-658 | Oryx 10GigE
Exposure range | 11ms to 30s | 200 ms | 3 us to 30s
Frame rate | 59 (3 tap) or 97 (10 tap) fps | 37 fps | 160 fps
Vast majority of the time is always spent on the energy switching
Cameras are not a limitations, even 37 fps is far from the bottleneck imposed by the energy switching layer.
To note, minimum exposure of the Oryx is 3us, which means you could drastically accelerate the radiograph single-pencil beam process.

## Slide 4: Reconstruction methods

## Slide 5: 4 methods to compare spatial resolution
Distal camera
  Need a calibration (Daniel works on that)
  Potential artefact due to scattering!
Front tracker single event-
Lateral image Bragg Peak shift
Front tracker Scintillator energy:
  Place a tracker at the front of the patient
Gaussian weighting
Old

## Slide 6: Characteristics of the pencil beam
100x100 or 25x25 grid of pencil beams
0.5 or 1.0 cm standard deviation
100 x 100
25 x 25
Old

## Slide 7: Gaussian Weighting Single Pencil Beam Useful for Distal Camera?
(X,Y)
(X0,Y0)
Old

## Slide 8: 25 x 25 grid 1cm STD
Old

## Slide 9: 100x100 grid 1cm STD

## Slide 10: Comparison of Gaussian Weighting
25x25 1 cm
100x100 1cm
100x100 0.5cm
Old
I was not aware of the need for calibration (…)
Might be interesting to redo these test with calibrated data! Or pencil beam by pencil beam.

## Slide 11: Optimisation Method Deffet et al. (IBA)
W
Reference (Dr)
Measurement (Dm)
Z
zi
Initial Relation
Cost Function

## Slide 12: Optimisation Method Deffet et al. (IBA)
Resolution enhancement?
It’s an interpolation!
Results
Ground Truth
No optimisation
Deffet et al.
Acquisition details
Pencil Beam 3mm Sigma
Spot spacing of 5 mm -> Spot density of 4 spot/cm^2
In comparison, Chinmay had 1089 spots in 4cm^2 ~ 250 spot/cm^2?

## Slide 13: Deffet method -> My implementation
25x25
100x100
100x100 results looks good results but:
Interpolation play a big role
Do not work well for high gradient changes
Do not work well for low density PB

## Slide 14: Pro and Cons Deffet
Pros:
  Clever usage of curvelet for ill-posed cost function
  Can make use of data beyond the PB sampling through the gaussian weighting
  Already coded, we have it.
Cons:
  Cost-function does not accurately represent the physics
  Not easily transferable to higher dimension detector (e.g. ours)
  Using 1-D information means we have less info for a given dose, or more dose for a given image quality

## Slide 15: Our method – Diffusion Proton CT
Distal Camera
(2.2b)
30 cm
EJ-260 Scintillator
Z
X
Y
Lateral Camera (2.2c-d)
Voxelized Phantom
- First step is to redefine the problem based on scattering

## Slide 16: Few definitions
Distal Camera
(2.2b)
30 cm
EJ-260 Scintillator
Z
X
Y
Lateral Camera (2.2c-d)
K-th phantom voxel
rk
I-th PB
ri
D-th
detector voxel rd
Voxelized Phantom

## Slide 17: Scattering Pencil Beam -> Voxel
Exaggerated lateral
diffusion
I-th PB
ri

## Slide 18: Scattering Pencil Beam -> Voxel
Exaggerated lateral
diffusion
I-th PB
ri

## Slide 19: Scattering Pencil Beam -> Voxel
Exaggerated lateral
diffusion
I-th PB
ri

## Slide 20: Scattering Voxel -> Detector
Distal Camera
(2.2b)
30 cm
EJ-260 Scintillator
Z
X
Y
Lateral Camera (2.2c-d)
D-th detector voxel
rd

## Slide 21: Combined Scattering
I-th PB
ri
EJ-260 Scintillator

## Slide 22: Scattering Voxel -> 1-D Detector
30 cm
X
Examples:
MLIC
ZEBRA
NEMO
Averaged scintillator

## Slide 23: Scattering Voxel -> 2-D Detector
30 cm
Y
X
Examples:
Our system
Tanaka et al.

## Slide 24
30 cm
Z
X
Y
Scattering Voxel -> 3-D Detector
Examples:
None so far?

## Slide 25: Back-projection operator in diffusion pCT

## Slide 26: Back-projection operator in diffusion pCT
For all pencil beam
in a projection
For all detector element
for a pencil beam
Contributions to the k-th voxel
By the p-th projection
Fraction of a
PB in detector element (fuzzy)
Normalization

## Slide 27: Back-projection operator in diffusion pCT
For all pencil beam
in a projection
For all detector element
for a pencil beam
Contributions to the k-th pixel
By the p-th projection
Fraction of a
PB in detector element (fuzzy)
Normalization
Back-projection operator
Ramp-filtered back-projection

## Slide 28: Currently – In reconstruction